## COVER
Wodonga Creek Activation Project
Schedule of Quantities - Issue For Tender
SUMMARY OF SECTIONS
1 | Establishment & Preliminaries |  |  | 0
2 | Diamond Park |  |  | 0
3 | Stock Route North |  |  | 0
4 | Stock Route South & Dick St |  |  | 0
5 | Provisionals & Miscellaneous |  |  | 0
|  | SUB TOTAL | 0
|  | GST | 0
|  | TOTAL | 0
NOTE
1 | Measurement of Planimetric quantities shall be dimensions in a horizontal or vertical plane.
2 | Although the quantities shown are taken out with care, they are not guaranteed and are given only as a guide for the Tenderer.
3 | The earthworks quantities shown are net volumetric quantities without allowance for loss, shrinkage, swell or waste. Tenderers shall asses all factors in arriving at their quantities and prices for each of them.
4 | The contractor shall price the bill of quantities as presented without modification. If the contractor disagrees and deems variations are applicable at the time of tender, these variations shall be listed as an addendum.
5 | No extra will be allowed should rock be encountered during works.
6 | This Schedule should be read and interperated with the Approved Drawing Set taking precedence in any particulars of a scheduled item

## Establishment & Preliminaries
1 | Establishment & Preliminaries
Item | Description of Works | Quantity | Unit | Rate | Amount
1.1 | Site establishment and preparation including provision of access, survey Setout, provision of site and office compounds, insurances and other works as specified. disposal of all surface rock, dead trees, timber, fences, wire, rubbish and any other materials as specified on the drawings, disposed offsite to a tip to be arranged by the contractor. | 1 | Item |  | 0
1.2 | Bank rehabilitation stock road north Undertake exotic trees and woody weed removal, erosion control and revegetate with appropriate local species. | 1050 | item |  | 0
1.3 | Northern Bank Remove and grub existing weeds (including trees, woody shrubs and groundcovers) as shown on plans | 1745 | sq.m |  | 0
1.4 | Tree Protection Fence | 1000 | Lm |  | 0
1.5 | Tree removal in accordance with CEMP | 1 | Item |  | 0
1.6 | Pruning Existing Trees in accordance with CEMP | 1 | Item |  | 0
1.7 | Erosion & Sediment control in accordance with CEMP | 1 | Item |  | 0
1.8 | TMP development, approval and execution on council road/assets for entirety of project including traffic management/control appropriate | 1 | Item |  | 0
1.9 | TMP development approval and execution on VicRoads road/assets for entirety of project including traffic management/control where appropriate | 1 | Item |  | 0
2 | Clear Demarcation between Vehicle and Pedestrian pathways in public realm | 1 | Item |  | 0
Establishment & Prelims Total |  |  |  |  | 0

## Diamond Park
2 | Diamond Park
Item | Description of Works | Quantity | Unit | Rate | Amount
2.1 | Road works & Earthworks
Earthworks
2.1.1 | Cut | 2000 | m3 |  | 0
2.1.2 | Fill | 2400 | m3 |  | 0
2.1.3 | Import | 400 | m3 |  | 0
Spray Seal
2.2 | Two Coat Primer and Seal 14/17mm | 1722 | m2 |  | 0
2.2.1 | Base: 20mm nominal size Class 2 F.C.R 150mm compacted thickness | 1722 | m2 |  | 0
2.2.2 | Sub-Base: 20mm nominal size Class 3 C.R 130mm Compacted thickness | 1926 | m2 |  | 0
2.2.3 | Subgrade preparation in accordance with the drawings & IDM standard | 1926 | m2 |  | 0
2.3 | Asphalt Access Road
2.3.1 | 30 mm Thick size 10, C170 Binder, Primer Seal 7mm | 890 | m2 |  | 0
2.3.2 | Base: 20mm nominal size Class 2 F.C.R 150mm compacted thickness | 890 | m2 |  | 0
2.3.3 | Sub-Base: 20mm nominal size Class 3 C.R 130mm Compacted thickness | 1026 | m2 |  | 0
2.3.4 | Subgrade preparation in accordance with the drawings & IDM standard | 1026 | m2 |  | 0
2.4 | Gravel Hardstand
2.4.1 | Base: 20mm nominal size Class 2 F.C.R 150mm compacted thickness | 412 | m2 |  | 0
2.4.2 | Subgrade preparation in accordance with the drawings & IDM standard | 412 | m2 |  | 0
2.2 | Concrete & Path Works
Supply of all materials (including joints and reinforcement, all dowels to be galvanised), plant and labour for the construction as specified the following concrete works.
2.2.1 | Concrete Base SL82 Mesh Reinforced 3.0m WIDTH 32Mpa Concrete 150mm thickness | 295 | 32 |  | 0
2.2.3 | 2.50m wide shared path, 125mm thick 25MPa SL72 Mesh concrete including 100mm compacted thickness Size concrete including 100mm compacted thickness Size 20mm Class 3 F.C.R to 97%MMDD. Including all Pram Crossings 20mm Class 3 F.C.R to 97%MMDD. Including all Pram Crossings | 1154 | m2 |  | 0
2.2.4 | Granitic sand Path | 86 | m2 |  | 0
Concrete kerb and channel including reinforcement bedding, laybacks for pram and vehicular crossings where required and transitions as follows.
2.2.5 | B2 KERB (IDM SD100) | 180 | Lm |  | 0
2.2.6 | Dished drain 450 | 44 | Lm |  | 0
2.2.7 | Edge strip-300 Width | 300 | Lm |  | 0
2.2.8 | Concrete layback for model engine club, Bedding to be compacted Class 3 F.C.R 20mm | 1 | Item |  | 0
2.2.9 | Rock retaining wall at Graniti sand path refer to SJE911044 Drawing | 33 | Lm |  | 0
2.2.10 | CHARCOAL Stamped Concrete Pad in Road footprint 150 Thick 32 Mpa | 36 | m2 |  | 0
2.3 | Fencing
2.3.1 | Galvanised Steel Bollards | 84 | Item |  | 0
2.3.2 | Galvanised Steel Removable Bollards | 3 | Item |  | 0
2.3.3 | Galvanised Post and Chain link Fence Type B | 91 | Lm |  | 0
2.3.4 | Rural Fence Type C | 106 | Lm |  | 0
2.3.5 | Security Fence Type A |  | Lm |  | 0
2.3.6 | Steel Gate 3.6m for Model Engine Club Access Including removing existing Swing Gate | 2 | Item |  | 0
2.3.6 | Metal Gate 4m ACCESS TO BOAT RAMP | 1 | item |  | 0
2.4 | DRAINAGE
Complete including excavation, supply of pipes, lay, bed, joint, anchor blocks, backfill, where necessary trench dewatering and type P bedding in trenches, disposal of surplus spoil off site.
StormPro, Blackmaxx or approved equiv. (Backfill Indicated in Drainage Long Sections)
2.4.1 | Ø450mm RCP RRJ Pipe Drain | 8 | Lm |  | 0
2.4.2 | Ø375mm RCP RRJ Pipe Drain | 24 | Lm |  | 0
2.4.3 | Ø225mm Cl. 2 Pipe Drain | 112 | Lm |  | 0
2.4.4 | Ø300mm Cl. 2 Pipe Drain | 80 | Lm |  | 0
2.4.5 | Ø100mm Cl. 2 Pipe Drain | 119 | Lm |  | 0
2.4.6 | Ø150mm Cl. 2 Pipe Drain | 15 | Lm |  | 0
Drainage Pits
2.4.7 | 600 x 900 Heelsafe Grated Pit (HGP) | 3 | No. |  | 0
2.4.8 | 600 x 900 Grated Pit (GP | 2 | No. |  | 0
2.4.9 | 600 x 900 Class D Grated Pit to suit B2 Kerb | 2 | No. |  | 0
2.4.10 | 600 X 900 Junction Pit (JP) | 2 | No. |  | 0
2.4.11 | 450 x 450 Heelsafe Grated Pit (GP) | 6 | No. |  | 0
2.4.12 | 300 x 300 Heelsafe Grated Pit (GP) | 3 | No. |  | 0
2.4.13 | 450 x 450 Junction Pit (JP) | 2 | No. |  | 0
2.4.14 | 300 x 300 Junction Pit (JP) | 2 | No. |  | 0
2.4.15 | 450 x 450 Grated Drop Pit (GP) | 1 | No. |  | 0
2.4.16 | Water Play Area Grated Drains in invert | 3 | No. |  | 0
2.4.17 | Provide Stacked Rock Headwall | 1 | No. |  | 0
2.4.18 | Provide 225 Rock Mortar Headwall with flood flap | 2 | No. |  | 0
2.4.19 | Provide Rock Mortar Headwall | 2 | No. |  | 0
2.4.20 | Ø100mm Subsurface drain Class 400 with 20mm screenings | 510 | Lm |  | 0
2.4.21 | Subsoil Flushing points | 20 | No. |  | 0
2.4.22 | Connect shelter dps to Drianage Network | 3 | No. |  | 0
2.4.23 | Water retic to irrigation | 1 | item |  | 0
2.5 | SERVICING & MISCELLANEOUS WORKS |  |  |  | 0
Supply and installation of the following signs including
2.5.1 | Line marking and RRPMs to AS 1742-1 1991 and 1742-2 1994. Note removal of Green Coat finish to footpath. Inclusion of raised humps linemarking | 1 | item |  | 0
2.5.2 | Tactile Ground Surface Pavers | 1 | item |  | 0
2.5.3 | Design and Construct replacement Duplex pressure sewer system at toilet blovck | 1 | No. |  | 0
2.5.5 | Design and Construct Treadwell Brighton series Boardwalk/ FRP deck structure, including Structural certification and peir design | 72 | m2 |  | 0
2.6 | LANDSCAPE WORKS |  |  |  | 0
Surface treatments
2.6.1 | Supply and install standard concrete paving | 860 | sq.m |  | 0
2.6.2 | 125mm THICK Supply and install feature paving (exposed ag concrete) | 191 | sq.m |  | 0
2.6.3 | Supply and install concrete edging | 151 | lin.m |  | 0
2.6.4 | 150mm THICK 32MPa SL82 Supply and install feature paving (exposed ag concrete) Hospitality Pad | 41 | sq.m |  | 0
2.6.5 | Supply and shape water channels to water play and install feature paving | 56 | sq.m |  | 0
2.6.6 | Supply and install mudstone edging to rills in concrete with feature paving | 70 | Lm |  | 0
Constructed elements
2.6.7 | Construct 150mm high mounds in select grass areas |  | item |  | 0
2.6.8 | Supply and construct concrete seating walls see sheet W023022-TYP-C 2 | 20 | Lm |  | 0
Diamond Park Total |  |  |  |  | 0

## Playground Works
PLAYGROUND WORKS
Wodonga Creek Activation Project
BILL OF QUANTITIES FOR TENDER
REFER DWGS L-23050-201-203 and 301-303
18/05/2026 Revision: B
Item | Description | Qty | Unit | Rate | Amount
1 | Surface treatments
1.1 | Supply and install certified organic playground mulch | 0 | sq.m |  | 0
1.2 | Supply and install Australian made EPDM rubber softfall | 0 | sq.m |  | 0
1.3 | Supply and install organic mulch | 0 | cu.m |  | 0
1.4 | Supply and Install mudstones to playground mound |  | item |  | 0
1.5 | Supply and install cut log steppers (customised) |  | item |  | 0
1.6 | Supply and install jutemesh to playground mound | 0 | sq.m |  | 0
2 | Grass
2.1 | Preparation including cultivation of subgrade to 150mm depth and application of gypsum | 1578.96 | sq.m |  | 0
2.2 | Supply and spread approved topsoil minimum 100mm depth | 1578.96 | sq.m |  | 0
2.3 | Supply and install rolled turf | 351.75 | sq.m |  | 0
2.4 | Supply and sow seed into topsoil | 1227.21 | sq.m |  | 0
0
3 | Garden beds
3.1 | Supply and install root barrier 900mm deep |  | item
3.2 | Preparation including cultivation of subgrade to 200mm depth and application of gypsum |  | sq.m
3.3 | Supply and spread approved topsoil minimum 200mm depth |  | sq.m
4 | Planting
4.1 | Supply, deliver and install all planting. Refer Plant Schedules on drawings. |  | item
5 | Lypa Playground Equipment
5.1 | Possums' Hangout modified (L025907) | 1 | no. |  | 0
5.2 | Dual Rocker (L013210) | 1 | no. |  | 0
5.3 | Beastie (L0113210) | 1 | no. |  | 0
5.4 | Single Concrete Slide (900mm) (L000203) | 1 | no. |  | 0
5.5 | Thongaphone (L007901) | 1 | no. |  | 0
5.6 | Gumnut Cubby with cladding (L025912) | 1 | no. |  | 0
5.7 | Turtle 1x0.85m + 2x0.50m long | 3 | no. |  | 0
5.8 | Delivery and installation of Lypa equipment |  | item
6 | Richter Spielgerate Playground Equipment
6.1 | Toddler Twin Swing incl 1xbaby swing (6.1272) | 1 | no. |  | 0
6.2 | Small Spinner (6.264) | 1 | no. |  | 0
6.3 | Extra High Swing Special (7.1402) | 1 | no. |  | 0
6.4 | Multi Surface Triple Swing (6.1482) | 1 | no. |  | 0
6.5 | Ring scales (6.103) | 1 | no. |  | 0
6.6 | Delivery and installation of Richter Spielgerate equipment |  | item
7 | Richter Spielgerate Waterplay Equipment
7.1 | CRANK HANDLE PUMP (5.17638) | 1 | no. |  | 0
7.2 | LEVER PUMP (5.28000) | 1 | no. |  | 0
7.3 | MUSHROOM SPRING (5.18000) | 1 | no. |  | 0
7.4 | PLAYGROUND PUMP (5.17500) | 1 | no. |  | 0
7.5 | SEE-SAW PUMP (5.18600) | 1 | no. |  | 0
7.6 | WATER FLAP (5.20905) | 1 | no. |  | 0
7.7 | SICKLE GATE (5.28032) | 2 | no. |  | 0
7.8 | RECTANGULAR FLAP (5.28034) | 2 | no. |  | 0
7.9 | ROTATING GATE (5.28035) | 1 | no. |  | 0
7.1 | BALL VALVE (5.20950) | 3 | no. |  | 0
7.11 | WATER FLOODER W LOCKING ELEMENT (5.13004) | 2 | no. |  | 0
7.12 | SMALL BUCKET WHEEL (5.15910) | 2 | no. |  | 0
7.13 | SPRAY HEAD INSTALLED IN 500mm HIGH MUDSTONE (5.18815) | 1 | no. |  | 0
7.14 | Delivery and installation of Richter Spielgerate equipment |  | item
8 | PlayCo Playground Equipment
8.1 | ELEVATED BALANCE LOG 2m (A-NAT-2019) | 4 | no. |  | 0
8.2 | BALANCE LOG 2m (A-NAT-2020) | 1 | no. |  | 0
8.3 | LOG STEPPERS - 200mm HIGH (A-NAT-2217) | 20 | no. |  | 0
8.4 | LOG STEPPERS - 400mm HIGH (A-NAT-2258) | 15 | no. |  | 0
8.5 | Delivery and installation of PlayCo equipment |  | item
9 | Other Playground Equipment
Supply, deliver and install:
9.1 | CREO SHAPE - BLUE TONGUE LIZARD (NOP10797) by Surface Designs | 1 | no. |  | 0
9.2 | CREO SHAPE - PLATYPUS (NOP10797) by Surface Designs | 1 | no. |  | 0
9.3 | MOUND SCALING ROPE PULL 1.7m long (S0305U) by Adventure+ | 1 | no. |  | 0
9.4 | ROCKHOLDS (blue, green, yellow) (ACCX 0006) by Moduplay | 38 | no. |  | 0
10 | GX Outdoors Furniture
10.1 | Supply, deliver and install all furniture. Refer Furniture Schedules on drawings. |  | item
11 | Fencing
Supply, deliver and install:
11.1 | Fencing | 0 | lin.m |  | 0
11.2 | Double gate (lockable) | 1 | no. |  | 0
11.3 | Pedestrian gate with childproof lock | 1 | no. |  | 0
12 | Waterplay design
12.1 | Design and prepare construction documentation of the Waterplay components and rill |  | item
13 | Irrigation
13.1 | Design and construct an automatic irrigation system to City of Wodonga's standard specification |  | item
14 | Plant establishment / consolidation period
14.1 | Ensure that all planted areas are watered, growing in a healthy manner and are disease and pest free, weed free. Replace unhealthy/dead plants. Minimum of 13 weeks. | 13 | weeks |  | 0
| PLAYGROUND WORKS TOTAL (excluding GST) |  |  |  | 0

## Stock Route North
3 | Stock Route North
Item | Description of Works | Quantity | Unit | Rate | Amount
3.1 | Road works & Earthworks
Sealed Access Road
3.1.2 | Two Coat Primer and Seal 14/10mm | 175 | m2 |  | 0
3.1.3 | Base: 20mm nominal size Class 2 F.C.R 150mm compacted thickness | 175 | m2 |  | 0
3.1.4 | Sub-Base: 20mm nominal size Class 3 C.R 100mm Compacted thickness | 175 | m2 |  | 0
3.1.5 | Subgrade preparation in accordance with the drawings & IDM standard | 175 | m2 |  | 0
Maintenance Overlay/Re Seal
3.1.6 | Strip Back Existing Seal | 719 | m2 |  | 0
3.1.7 | Two Coat Primer and Seal 14/10mm | 719 | m2 |  | 0
3.1.8 | Base: 20mm nominal size Class 2 F.C.R 100mm compacted thickness | 719 | m2 |  | 0
Stock Route Single seal overlay
3.1.9 | Single coat seal 10mm seal including prepare existing road surfacefor seal (Crack Seal and Leveling) | 910 | m2 |  | 0
Lincoln Causeway Overlay Seal
3.1.9 | Single coat seal 10mm seal including prepare existing road surfacefor seal (Crack Seal and Leveling) | 250 | m2 |  | 0
3.2 | SHARED PATH
3.2.1 | 2.50m wide footpath, 125mm thick 25MPa SL72 Mesh concrete including 100mm compacted thickness Size 20mm Class 3 F.C.R to 97%MMDD. Including all Pram Crossings | 987 | m2 |  | 0
3.2.2 | Features Rock and Mortar wall Upto 1000mm height | 14 | lm |  | 0
3.2.3 | Gabion Rock Placement on Bank face at footpath inc Geofabric | 90 | m2 |  | 0
3.2.4 | Rock Retaining Wall (By SJE) 400-1200 high | 26 | Lm |  | 0
3.2.5 | Deepened Edge Beam on Creek Side , 450D min 200W | 70 | Lm |  | 0
3.2.6 | Demolition of Shared Path on Wrights Road | 37 | m2 |  | 0
3.3 | Fence
3.3.1 | Type A (CB10 Wave) | 35 | Lm |  | 0
3.3.2 | Type F( Black Security Fence ) | 212 | Lm |  | 0
3.3.3 | Type F Fencing Gates | 4 | No. |  | 0
3.4 | Miscellanious
3.4.1 | Construct New Swale Drain in front of carpark to IDM SD500 Rediracting 225DN stormwater RCP class 2RRJ. Reconnecting to existing hadwall | 26 | Lm |  | 0
3.4.2 | tidy creek offtake and tie in irrigation system for Black Duck (4x tie in points and 3x valves) | 90 | Lm |  | 0
3.4.3 | Standard commercial grad Irrigation Sprinklers inc fittings Refer W023022-B-RD2-DP3 | 4 | Item |  | 0
3.4.5 | Line marking and RRPMs to AS 1742-1 1991 and 1742-2 1994. Note removal of Green Coat finish to footpath. Inclusion of raised humps linemarking | 1 | item |  | 0
3.4.6 | G13 emeral green bicycle lane as per Austroads AS2700 | 17 | m2 |  | 0
3.4.7 | Granitic sand | 56 | m2 |  | 0
Stock Route North Total |  |  |  |  | 0

## Stock Route South & Dick St
4 | Stock Route South & Dick St
Item | Description of Works | Quantity | Unit | Rate | Amount
4.1 | Road works & Earthworks
Asphalt Overlay Access Road
4.1.2 | 30mm Asphalt type L 10mm stone, C170 Binder including primer seal and road surface preperation | 1130 | m2 |  | 0
4.1.3 | New Seal and FCR Overlay
4.1.4 | Two Coat Seal 14/7 inc Prime Including preperation of exixting road | 1400 | m2 |  | 0
4.1.5 | Base: 20mm nominal size Class 2 F.C.R 150mm compacted thickness | 1400 | m2 |  | 0
Full Depth Asphalt Access Road
4.1.5 | 30mm Asphalt type L 10mm stone, C170 Binder including primer seal | 640 | m2 |  | 0
4.1.7 | Base 20mm nominal size Class 2 C.R 150mm Compacted thickness | 640 | m2 |  | 0
4.1.8 | Subbase 20mm nominal size Class 3 C.R 130mm Compacted thickness | 640 | m2 |  | 0
4.1.9 | Subgrade preparation in accordance with the drawings & IDM standard | 640 | m2 |  | 0
4.1.10 | Line marking and RRPMs to AS 1742-1 1991 and 1742-2 1994. Note removal of Green Coat finish to footpath. Inclusion of raised humps linemarking | 1 | item |  | 0
4.2 | Shared Path/Concrete Works
4.2.1 | 2.50m wide footpath, 125mm thick 25MPa SL72 Mesh concrete including 100mm compacted thickness Size 20mm Class 3 F.C.R to 97%MMDD. Including all Pram Crossings | 415 | m2 |  | 0
4.2.2 | G13 emeral green bicycle lane as per Austroads AS2700 | 25 | m2 |  | 0
4.2.3 | Remove existing path and rehabilitate with 100mm clean topsoil | 49 | m2 |  | 0
4.2.4 | B2 KERB (IDM SD100) inc tail outs | 130 | Lm |  | 0
4.2.5 | B3 KERB (IDM SD100) inc tail outs | 38 | Lm |  | 0
4.3 | Fencing
4.3.1 | Install Type B Bollard and Chain Fencing | 180 | Lm |  | 0
4.3.2 | Install Type E Fencing (BD40 Barrier Fence) | 80 | Lm |  | 0
4.3.3 | Remove Existing Barrier Fencing and kerb | 90 | Lm |  | 0
4.3.4 | drainage augmentation | 1 | item |  | 0
4.3.5 | 4m Metal Gate | 1 | item |  | 0
4.4 | Drainage
4.4.1 | 600 x 900 Grated Pit (GP) Including Concrete Apron Where Indicated | 4 | No. |  | 0
4.4.2 | 600 x 900 Grated Pit (GP) Class D | 1 | No. |  | 0
4.4.3 | Ø375 STORMPRO OR EQUIV | 71 | Lm |  | 0
4.4.5 | Ø375 RCP RRJ | 16 | Lm |  | 0
4.4.6 | Ø300 RCP RRJ | 11 | Lm |  | 0
4.4.7 | Rock Motar End Wall | 1 | item |  | 0
4.4.8 | Install Ø100mm Subsurface drain Class 400 with 20mm screenings | 160 | Lm |  | 0
4.5 | Miscellanous
4.5.1 | Reflective bike holding rail | 4 | item |  | 0
4.5.2 | Pedestrians give way to vehicles/ look both ways pavment paint (Rousse int) | 2 | item |  | 0
4.5.3 | Installation of all road and path signage as per approved plan set | 1 | item |  | 0
Stock Route South & Dick St Total |  |  |  |  | 0

## Provisionals & Miscellaneous
5 | Provisionals & Miscellaneous
Item | Description of Works | Qty | Unit | Rate | Amount
5.1 | SUBGRADE IMPROVEMENT
Excavation of isolated soft, wet or unstable areas within the road reserve for subgrade improvement including replacement and compaction with approved subgrade material and disposal of surplus spoil off site
5.1.1 | 150mm depth | 500 | m2 |  | 0
5.1.2 | 150mm Thick Vicroads Type A Capping Layer | 500 | m2 |  | 0
5.1.3 | 150mm Cl 4 FCR Capping layer | 500 | m2 |  | 0
5.1.4 | 150mm Cl2 20mm FCR 2% cement treated | 500 | m2 |  | 0
5.1.5 | 150mm depth of stabilisation, 3% lime. | 4179 | m2 |  | 0
5.2 | CCTV DRAINAGE INSPECTION
5.2.1 | Undertake CCTV inspection and provide footage of all drainage lines | 1 | Item |  | 0
5.3 | DESIGN & CONSTRUCT- ELECTRICAL-per Servicing Plan W023022-c-SER-1-2 & to Council satisfaction | 1 | item |  | 0
5.3.1 | Provide New footpath lghting, shelter lighting, three phase and gpo power outlets, and all other electrical components required | 1 | item |  | 0
5.4 | DESIGN & CONSTRUCT- IRRIGATION DIAMOND PARK-per Servicing Plan W023022-c-SER-1-2 & to Council satisfaction
5.4.1 | Provide New 50mm PE supply line to Irrigation Box | 100 | Lm |  | 0
5.5 | DESIGN & CONSTRUCT-WATER SUPPLY DIAMOND PARK per Servicing Plan W023022-c-SER-1-2 & to Council satisfaction
5.5.1 | Supply Water to all Diamond Park infrastructure shown in drawing (inc bubblers, taps, water play, hospitality pad, shelters etc) to Council Satisfaction | 1 | item |  | 0
5.6 | MISCELLANEOUS WORKS
| Extra over for handling non-rippable rock in trenching | 500 | m3 |  | 0
| Rail Trail South Connection-Rectifictaion of gravle upt 150mm and allowance for placement of FCR 100mm overlay | 150 | m2 |  | 0
| Rail Trail South - 10mm Single coat seal Including Primer | 150 | m2 |  | 0
| Rail Trail South - 4m Steel Gate +3m of fenicng tied in to Bridge either side of gate | 1 | item |  | 0
|  |  | Provisionals & Miscellaneous Total |  | 0